## PAYBACK
ID | PAYBACK FACTORS | FORMULA - ENTER VALUES FOR ITEMS WITH ASTERISK | SAMPLE PROJECT COMPONENT 1 | SAMPLE PROJECT COMPONENT 2 | SAMPLE PROJECT COMPONENT 3 | NEW PROJECT - ENTER VALUES FOR ITEMS WITH ASTERISK
Component 1 - Reduce Inflow and Infiltration
1 | Flow – Dry Weather (Gallon per Minute) | *A | 1100 | 0 | 1100
2 | Flow – Wet Weather (Gallon per Minute) | *B | 1600 | 0 | 1600
3 | Difference Wet minus Dry (Gallon per Minute)= I/I | C=B-A | 500 | 0 | 500 | 0
4 | Months of Wet Weather Flow | *D | 4 | 0 | 4
5 | Cost to Transport 1 Gallon of Sewage | *E | 0.002 | 0 | 0.002 | 0
6 | Cost to Treat 1 Gallon of Sewage | *F | 0.003 | 0 | 0.003 | 0
7 | Annual Loss to Transport & Treat I/I | G=CxDx60x24x30x(E+F) | 432000 | 0 | 432000 | 0
8 | SSO Costs During Wet Weather Caused by I/I | *H | 40000 | 0 | 40000 | 0
9 | SSO Costs After Project | *K | 0 | 0 | 0 | 0
10 | SSO Savings With Project | L=H-K | 40000 | 0 | 40000 | 0
11 | Total Annual Loss to Transport and Treat I/I Plus SSO and Maintenance Cost Saved | M=G+L | 472000 | 0 | 472000 | 0
12 | 10 Year Loss (Without Project) to Transport and Treat I/I Plus SSO Cost Saved | N=Mx10 | 4720000 | 0 | 4720000 | 0
13 | Cost of Downstream Relief Project (Required if Capacity is not Restored with Inflow Barriers and Pipe Lining Improvement Project) | *0 | 800000 | 0 | 800000 | 0
14 | 10 Year Loss Without Project plus Cost of Downstream Relief Project | P=N+O | 5520000 | 0 | 5520000 | 0
Component 2 - Reduce SSOs and Maintenance Cost
15 | SSO Cost Potential Each Year – From Grease/Roots/Debris/Dumping (Not from I/I) | *Q | 35000 | 35000 | 35000 | 0
16 | SSO Costs After Project | *R | 0 | 0 | 0 | 0
17 | SSO Savings With Project | S=Q-R | 35000 | 35000 | 35000 | 0
18 | Calculate Annual Maintenance Cost (Clean Lines Every 6-12 Months) | *T | 30000 | 35000 | 30000 | 0
19 | Calculate Annual Maintenance Costs After Project (Clean Lines Every 3 Years) | *U | 10000 | 10000 | 10000 | 0
20 | Annual Maintenance Cost Savings | V=T-U | 20000 | 25000 | 20000 | 0
21 | 10 Year Loss Without Component 2 Project (Reduced SSO and Maintenance Cost) | W=(S+V)10 | 550000 | 600000 | 550000 | 0
22 | 10 Year Loss Without Component 1 (Reduced I/I Project) if included, Plus Component 2 (Reduced SSO and Maintenance Costs) | X=P+W | 6070000 | 600000 | 6070000 | 0
Component 3 - Repair Structural Damage
23 | Anticipated Number of Spot Repairs - 10 Year Period | *Y | 0 | 0 | 8
24 | Loss From Each Spot Repair Construction | *Z | 0 | 0 | 25000 | 0
25 | Property Damage, Clean up and Restoration for Each Spot Repair | *AA | 0 | 0 | 40000 | 0
26 | Anticipated 10 Year Spot Repair Loss | BB=Y(Z+AA) | 0 | 0 | 520000 | 0
27 | Anticipated Number of Catastrophic Failures - 10 Year Period | *CC | 0 | 0 | 1
28 | Catastrophic Failure Loss Per Occurance | *DD |  |  | 500000
29 | Anticipated 10 Year Catastrophic Failure Loss | EE=CC(DD) | 0 | 0 | 500000 | 0
30 | 10 Year Loss Without Component 3 Project (Structural Damage Repair) | FF=BB+EE | 0 | 0 | 1020000 | 0
31 | 10 Year Loss Without Project Component 1(Reduced I/I); Component 2 (Reduced SSO and Maintence Cost); & Component 3 (Structural Damage Repair) | GG=X+FF | 6070000 | 600000 | 7090000 | 0
32 | Cost of Project | *HH | 1750000 | 300000 | 2250000 | 0
33 | PAYBACK FACTOR = LOSS REDUCTION / PROJECT COST (10 Year Period) | KK=GG/HH | 3.4686 | 2 | 3.1511 | #DIV/0!
34 | PAYBACK PERIOD (In Years) = PROJECT COST / ANNUAL LOSS | LL=(HH-O)/((M+S+V+(FF/10)) | 1.8027 | 5 | 2.3052 | #DIV/0!